Government of West Bengal

DIRECTORATE OF ANIMAL RESOURCES & ANIMAL HEALTH

Prani Sampad Bhavan, 2nd floor, LB-2, Sector-III, Salt Lake City, Kolkata-700 106

Ph: 2335-1145 Fax: 2335-1187 E-mail: dahvswb@darahwb.org Website: www.darahwb.org

NOTICE INVITING E- TENDER FOR RATE CONTRACT OF VETERINARY HOSPITAL INSTRUMENTS ALONG WITH INSTALLATION (Submission of bid through NIC e-tender portal http://www.wbtenders.gov.in)

N.I.T. # WBARD/HOSPINST/NIT-06/T-597A/19-20(2nd call)                     DATE: 30.5.2019

The Director of Animal Husbandry & Veterinary Services, WB on behalf of the Governor to the State of West Bengal is going for e-tender for preparing the rate schedule for supply and installation of Veterinary Hospital Instruments (2nd call).

Online bids are invited only from MANUFACTURERS/AUTHORIZED AGENT of the MANUFACTURERS for rate contract for supply and installation of Veterinary Hospital Instruments to the following decentralized units under this Directorate.

  - Office of the Dy. Director, A.R.D. & Parisad Officer, South 24 Paraganas (Alipore), North 24 Paraganas (Barasat), Howrah, Purba Medinipur (Tamluk), Dakshin Dinajpur and Jalpaiguri. Central Medical Stores, Sub-depots at Nadia, Bankura, Uttar Dinajpur, Murshidabad, Coochbehar, Siliguri, Bardhaman, Hooghly (Chinsurah), Birbhum, Purulia, Paschim Medinipur and Malda.

  - Office of the Jt. Director, A.R.D., Zone-I/II/III/IV Division, P.O. Bardhaman/ Kalyani/Siliguri/Baharampur,Dist. Bardhaman/Nadia/Darjeeling/ Murshidabad.

  - Office of the Joint Director, A.R.D., State Livestock Farm, Kalyani, Nadia / Composite State Animal Husbandry Farm, Salboni, Paschim Medinipur.

  - Office of the Joint Director, A.R.D., Institute of Animal Health & Veterinary Biologicals, 37, Belgachia Road, Kolkata-37.

  - Office of the Addl. Director, A.R.D., Haringhata Farm, P.O. Mohanpur, Dist. Nadia.

  - Office of the Dy. Director, A.R.D., Poultry-Marketing, State Poultry Farm, 42, Graham Road, Tollygunge, Kolkata-40.

  - Office of the District Executive Officer of all district; Station Director-I, Frozen Semen Bull Station, Haringhata/Salboni/Beldanga; Deputy Project Director, Bull Mother Farm, Haringhata; Office-in-Charge, Bull Mother Farm, Salboni all under Paschim Banga Go-Sampad Bikash Sanstha (A Govt. of West Bengal Organization).

Veterinary Hospital Instruments as per catalogue enclosed are classified in the following groups:

| Sl. | Nomenclature of the Group* | Classification |
| --- | --- | --- |
| 1. | Hospital Furniture | Gr. G |
| 2. | Special Hospital Instrument | Gr. H |

N.B. *Catalogue of Veterinary Hospital Instruments along with specification & packing unit is attached.

- Uniform rate must be quoted applicable to the entire aforementioned units. Quoting of separate rate against each of the above units will not be considered for acceptance.

- Offered rate should remain valid for a period of TWO YEAR FROM THE DATE OF ACCEPTANCE OF THE TENDER and any extended period, if situation arises.

- Necessary Earnest Money Deposit Rs. 25000/- (Rs. Twenty Five Thousand) or valid exemption certificate along with mandatory documents in Statutory & non-statutory cover are to be uploaded for participation in the tender.

- After publication of the N.I.T. in the newspapers, detailed catalogue along with terms & conditions, BOQ (Bill of Quantities) may be obtained from the Website http://www.wbtenders.gov.in at free of cost.

Continued on Page-2

NIT- Page-2

- Tenders will be floated in two parts – one Technical Bid for technical proposal (mandatory documents in Statutory & non-statutory cover) and other for financial bid for quoting rate & GST (whole amount) in BOQ’s in dedicated column.

- Submission of on-line tender may be made by the bidder with the help of Digital Signature Certificate (DSC).

- The software shall make automatic encryption of the technical bid as well as financial bid. No one will be able to open these two bids prior to schedule date & time as fixed by the undersigned.

- After evaluation of technical bid, those who will technically qualify, their financial bid will be opened for evaluation.

- Disclosure of rate other than BOQ will disqualify the bidder.

- On-line bid submission will start on 4th June, 2019 at 2 pm in the e-tender portal viz. http://wbtenders.gov.in.

- A pre-bid meeting will be held on 7th June, 2019 at 12 noon at Conference Hall /Purchase Cell of this Directorate HQ.

- Sample along with Literature of quoted item/s should be submitted physically on or before 25th June, 2019 up to 2-30 pm at the office of the Jt. Director, Institute of Animal Health & Veterinary Biologicals, 37, Belgachia Road, Kol-37.

- Online bids in two parts i.e. Technical Bid (Part-I) & Financial Bid (Part-II) are to be submitted up to 5pm on 25th June, 2019 for the aforementioned N.I.T.

14. Technical Bid Opening Date is tentatively fixed at 11 am on 28th June,  2019. Other activities i.e. date of uploading List of Technically qualified bidders, date of opening of financial bid etc. will be communicated later on.

15. The above schedule is fixed, however, the undersigned reserves the right to change the date of activities in case of any exigencies through a notice in the departmental website viz. www.darahwb.org & Notice Board at above addressed office.

16.  Online Receipt and Refund of Earnest Money through State Govt. E- bid Portal: Please follow   G.O. No. 3975-F(Y) dated 28.7.2018 available in www.wbfin.nic.in

Earnest Money :

In every case open e-tender an earnest money amounting as mentioned in the NIT of the work put to tender shall be required to be deposited by every tender.  Earnest Money is to be submitted electronically: online-through net banking enabled bank account, maintained at any listed bank through ICICI Bank Payment Gateway by net banking or offline by NEFT/RTGS from the e-tender portal as per provision as contained in G.O. No-3975(F) dated 28/07/2016 of the Secretary to the Govt. of W.B. Finance Deptt. Intending bidder will get the beneficiary details from e-tender portal with the help of Digital Signature Certificate (DSC) and may transfer the EMD from their respective Bank as per the Beneficiary Name & Account No., amount, beneficiary bank name (ICICI Bank) & IFSC Code and e-Proc Ref No. Intending bidder who wants to transfer EMD through NEFT/RTGS must read the instruction of the Challan generated from e-Procurement portal. Bidders are also advised to submit EMD of their bid, at least 3 working days before the bid submission closing date as it requires time for processing of payment of EMD. Bidders shall not have to pay the cost of tender documents for the purpose of participating in e tendering.

Bidders eligible for exemption of EMD as per Govt. order may avail the same end necessary documents regarding the exemption of EMD must be uploaded in the EMD folder of Statutory documents.

The entire tender documents including N.I.T, terms & conditions for submission of tender and BOQs are part & parcel of the tender.

The Bidder should abide by all the tender terms & conditions.

The undersigned reserves the right to reject and/or cancel all tenders at any stage without assigning any reason thereof & will not bound to accept lowest bid.

Encl: Catalogue of Hospital Instruments

Sd/-

Dr. (Capt.) A.G. Bandyopadhyay

Director of Animal Husbandry &

Veterinary Services, West Bengal

CATALOGUE   OF   HOSPITAL   FURNITURE  &  INSTRUMENTS.

G r o u p – G.

HOSPITAL FURNITURE

N.B.:	i)	Quotation other than Specification will not be accepted.

| Item Code | Sl. No. | Catalogue No. | A R T I C L E S | Accounting Unit | Remarks. |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | HF | 7 | Large Animal Operation Table: Hydraulic Operation Table with capacity of lifting 1000 kg., Table Top size: 2175 x 1000 cm. Head rest: 700 x 56 mm. Side tilled and height adjustment facility. | Per pc. | Submission of Literature only. No sample required |
| 2 | 2 | HF | 15. | Plastic Chair without handle | Per Pc | Submission of Literature only. No sample required |
| 3 | 3 | HF | 16. | Plastic Chair with handle | Per Pc | Submission of Literature only. No sample required |

G r o u p – H.

SPECIAL HOSPITAL INSTRUMENT

| Item Code | Sl. No. | Catalogue No. | A R T I C L E S | Accounting Unit | Remarks. |
| --- | --- | --- | --- | --- | --- |
| 4 | 1 | HI | 4. | Laparoscope. Single Chip, Digital Camera with Zoom facility, Autoclavable Laparoscope of 10 mm. 5 mm. and 5 mm. full screen laparoscope, adaptor for connection with all convectional chord and must be scratch resister. Electrical Light Source: 60 Volt, manual shutter, fibre optic, bundle with connector dimension (21 cm. 8 cm. and 13cm. High Flow Insufflators – Central Display, Monitor Tubing Set, Filter, 20L Insufflations. | Per pc. | Submission of Literature only. No sample required |
| 5 | 2 | HI | 6. | Boyel’s Apparatus with Isoflurane Vaporizer-Close Circuit, with hypoxic guard and steady supply of two oxygen cylinder, one NO2 Cylinder and breathing circuit accessories. | Per pc | Submission of Literature only. No sample required |
| 6 | 3 | HI | 9. | Ultrasonic dental Scaler with different probe | Per pc. |  |
| 7 | 4 | HI | 10. | Bed side Cardiac Monitor: Portable all recording facility and chargeable battery attachment. | Per pc. | Submission of Literature only. No sample required. |
| 8 | 5 | HI | 11. | Otoscope for ear examination of small animal battery fitted. | Per pc. |  |
| 9 | 6 | HI | 13. | Direct Ophthalmoscope. | Per pc. |  |
| 10 | 7 | HI | 15. | Indirect Ophthalmoscope | Per pc. |  |
| 11 | 8 | HI | 18. | Formalin chamber made of Fiber glass/high molecular weight polymer – 36” longx18” widex12”height with horizontal tier | Per pc. |  |
| 12 | 9 | HI | 19. | Foreign body metal detector with 4 batteries 1.5V each, direct optical indication via scale &acoustic indication via headphones, complete with carrying to hang around. | Per pc. |  |

Continued on Page-02

Page-02

| Item Code | Sl. No. | Catalogue No. | A R T I C L E S | Accounting Unit | Remarks. |
| --- | --- | --- | --- | --- | --- |
| 13 | 10 | HI | 20. | Dehorner- Electrical Battery Operated– 200Watt, 230 Volt, Pistol Handle with 20 mm brass tip | Per pc. |  |
| 14 | 11 | HI | 21. | Dehorner- Manual | Per pc. |  |
| 15 | 12 | HI | 25. | Digital Urinary Analyzer-Bench –top semi quantitative reflectance photometer based digital urine analyzer using LED &colour detector. 60 Strips per hour(Inside Incubator) Wave length: 470,540,650nm, Touch screens LCD Display.Memory-200 measurements Test Parameters: pH, ALB, Glucose, Blood, UBG, Bilirubin, Specific Gravity, Nitrites & Leucocytes etc. | Per pc. | Submission of Literature only. No sample required. |
| 16 | 13 | HI | 26. | Blood Analyzer Haematological (For Veterinary use, auto) Parameter WBC, RBC, HGB, HCT, MCV MCH, MCHC, RDW, PLT, MPV, PDW, PCT, with additional parameter for dog, cat, horse, mouse , rat and rabbit; Lymphocytes number, Monocytes number, Granulocytes number, Lymphocytes %, Monocytes % Granulocytes % Histograms for WBCF, RBS and PLT Should accept sample volume in micro liters Average processing of 30 samples in 1 hour Colour LCD display with minimum 640 x 480 resolutions Should have RS 232 x 2 inter phase, 1parallel printer, 1 keyboard, inter phase With pack of reagents (Diluents -20lts ,Rinse -20 lts, Lyse- 500 ml, EZ Cleanser –2x50 ml, Probe , cleanser -2x50 ml), along with installation ,demonstration and three years onsite warranty. | Per pc. | Submission of Literature only. No sample required. |
| 17 | 14 | HI | 27. | Nebulizer Table top nebulizer, should work on multiple power sources like electricity, solar power, UPS etc, Four speed fan to control mist, Outlet drainage and facility to attach oxygen cylinder with connector, Cup capacity 350ml, Should work from 3μl, Should supplied with mask, mouth connector, extension non latex pipes, spare fuses etc, Noise low than 30db Frequency 1.7 MHz, droplet micron size 1~5μm, Nebulisation at speed 2ml/min with facility for jet nebulisation, CE and FDA certified, Warranty of 3 years with service and spares | Per pc. | Submission of Literature only. No sample required. |
| 18 | 15 | HI | 28. | X ray machine ISO / ISI / CE Certified. 100 mA, 100 KVP, fixed X ray machine. ISO / ISI certified. Minimum 1 year warranty. Facility of extended warranty. Control panel - Digital display of KV and mAS with feather touch keyboard. Unit must indicate for incoming X - Rays and Voltage. Self diagnostic program with indication for Earth fault, KV, filament and Tube Head thermal errors, Bucky, stand by and overload. Apart from panel controlled exposure switch, must possess hand switch for exposure. X Ray Tube Head- Rotating type anode X ray. X ray generator 8 KW. Collimator manual with auto-shut off. Power supply Single phase 230 Volts 10% +/- 15 Amps. Must have friendly operation interface with High Frequency for veterinary purposes. KV ranges from 40 KVp to 100 KVp with major and minor variation in 2 KV steps. Timer: 0.02 sec - 5 or 10 second Solid state, 25 mA, 50 mA, 100 mA control. Mains on/off with overload circuit-breaker. Floor to ceiling stand. With over high voltage protection, tube over-current protection, output overload protection function, more secure and reliable. Light beam collimator. Line voltage compensation - 185 to 260 Volts. Should be supplied with manual and tube rating chart. Fixed type with horizontal bucky table. | Per pc | Submission of Literature only. No sample required. |

Continued on Page-03

Page-03

| Item Code | Sl. No. | Catalogue No. | A R T I C L E S | Accounting Unit | Remarks. |
| --- | --- | --- | --- | --- | --- |
| 19 | 16 | HI | 30. | Co2 Laser Machine. It should be a carbon dioxide laser with a wavelength 10.60 micro meters, infrared. It should have 40 watts power. ( It should have 5mw red diode aiming beam, 635nm, adjustable intensity It should be microprocessor based. ( It should have a sealed co2 laser tube. ( It should have continuous, single pulse and repeat pulse tissue exposure modes. It should have an average continuous power of 01 – 40 watts It should have a super pulse power of 0.5 – 15 watts. The beam delivery should be through a light weight carbon fiber, 7-joint, fixed mirror, spring balanced arm. And through co2 fiber also Co2 fiber should be 2 meter long, 1.04mm outside diameter sterile, single / multiple use, 2.0m long preferably glass hollow fiber. Spot size: 295μm at fiber output. Up to 40 watt The reach of the arm should be at least 120 cm with 360 deg rotation. It should have a timed exposure of following durations; on time (single pulse) – 0.05 – 1.0 sec. At 1.0 to 4.5 watts - 0.01- 1.0 sec at 5-40 watts on time (repeat pulse) – 0.05 – 1.0 sec at 1- 4.5 watts - 0.01 – 1.0 sec at 5-40 watts It should have a repeat delay, off time, 0.01 to 1.0 sec. It should have at least 100 user defined memory settings. It should have a 0.2mm focused hand piece. It should have at least two bacterial filters. It should have five laser safety glasses. It should have an inbuilt scanner with preset recommendations for parameters and delivery devices for different applications. It should have a multi –colour touch screen panel It should have a user friendly graphic display to provide step by step operating instructions. It should have a self contained closed loop cooling system. | Per Pc | Submission of Literature only. No sample required. |
| 20 | 17 | HI | 32. | Battery operated mini centrifuse machine (Multi Spin) | Per Pc |  |
| 21 | 18 | HI | 33. | Flexible Fibre-optic gastroscope for small animal | Per Pc |  |
| 22 | 19 | HI | 34. | Whole Blood Collection Bag 450 ml (for transfusion) | Per Pc |  |
| 23 | 20 | HI | 35. | Whole Blood Collection Bag 250 ml (for transfusion) | Per Pc |  |
| 24 | 21 | HI | 36. | Blood Transfusion set | Per Pc |  |
| 25 | 22 | HI | 37. | Ultra Sonography Machine ISO / ISI / CE Certified portable ultrasound machine with thermal printer, Display: Around 12 inches, internal storage function, It should have computer and USB connectivity. It should have cineloop facility. Power: System operates with AC power and via rechargeable Lithium-ion battery for inbuilt battery backup. Imaging modes- B, B/M, M and B+B. Imaging options - Multi zoom rate and depth shift. Should have gain / near gain /far gain , edge enhancement and multifocal functions. Alphanumeric QWERTY keyboard with Back light Trackball: Speed preset table 8-Segment TGC Dual probe connector. Supplied with 3 probes. All probes should be multi frequency (trifrequency) for different applications : Probes: Linear- Variable frequency 2 MHz to 5MHz, micro convex probe 2.5-5 MHz and Convex 5-10 MHz multi frequency. Integrated trolley for easy portability. Having cardiac and obstetric measuring functions, along with other basic measurements. Thermal Printer, Machine Trolley Stand, Thermal Paper, Jelly, and Veterinary USG Software for connection with PC. | Per pc. | Submission of Literature only. No sample required |
| 26 | 23 | HI | 38 | Schiontz Tonometer. | Per pc. |  |

Sd/-

Dr. (Capt.) A.G. Bandyopadhyay

Director of Animal Husbandry &

Veterinary Services, West Bengal